## Slide 1
Proceeding beyond Diffraction Limit
Stochastic Optical Reconstruction Microscopy (STORM)-3D
-Abhik Bose, 154033002-
CHS 818
For slide and abstract Please visit http://abhik.space/presentations.html

## Slide 3
Optical Microscopy: Limitations
Abbe’s Diffraction limit

## Slide 4
Way-out: Super resolution Microscopy or Nanoscopy:
Two approaches
Improved optics to achieve sub-wavelength resolution. Techniques include NSOM, SIM, STED etc.
Intelligent methodology to achieve super resolution with wide-field setup e.g. Localization Microscopy
Pros: High resolution super resolved image
Cones: Costly optics, Experimentally challenging.
Superresolved image with conventional wide-field setup

## Slide 5
Localization Microscopy1:
are the x and y spreads of the blob;
, ) is the centre;
FROM: http://zeiss-campus.magnet.fsu.edu/articles/superresolution/introduction.html

## Slide 6
Stochastic Optical Reconstruction Microscopy2
Bates, M.; Blosser, T.R.; Zhuang, X. Phys. Rev. Lett. 2005, 94, 108101
Rust, M. J.; Bates, M.; Zhuang, X. Nat. Methods 2006, 3, 793

## Slide 7
Localisation accuracy with STORM2

## Slide 8
2D STORM Imaging with Cy5-Cy3 Switch2

## Slide 9
Photo switching Mechanism3,4
Dempsey, . T.; Bates, M.; Kowtoniuk, W. E.; Liu, D. R.; Tsien, R. Y.; Chem. Soc. 2009, 131, 18192–18193.

## Slide 10
3D STORM Zhuang Science 2008

## Slide 11
Astigmatism (monochromatic)
Source: Internet
Propagation
Source:
Optics by Hecht
4th edition.

## Slide 12
Astigmatism and 3D STORM Methodology6

## Slide 13
3D STORM Image6
Clathrin-coted pits in cell

## Slide 14
Re constructed image with 3D STORM6

## Slide 15
Drawbacks
Upon invention STORM is a very successful method, but is dependent on storm specific dyes and the dye bleaches permanentely after a few hundreds of cycles. Invention of new dyes will remove this drawbacks.
References:
http://zeiss-campus.magnet.fsu.edu/articles/superresolution/introduction.html Accessed On: 13.04.2016 10:10 pm IST
Rust, M. J.; Bates, M.; Zhuang, X. Nat. Methods 2006, 3, 793.
Dempsey, G. T.; Bates, M.; Kowtoniuk, W. E.; Liu, D. R.; Tsien, R. Y.; Chem. Soc. 2009, 131, 18192–18193.
Bates, M.; Blosser, T.R.; Zhuang, X. Phys. Rev. Lett. 2005, 94, 108101
Dempsey, G. T.; Vaughan, J. C.; Chen, K. H.; Bates, M.; Zhuang, X. Nat. Methods 2011, 8, 1027–1036.
Huang, B.; Jones, S. A.; Brandenburg, B.; Zhuang, X. Nat. Methods 2008, 5, 1047–1052.